Analytical X-Ray Safety Interlock Tests

To be conducted every six months per NJAC 7:28-21.6

Machine __________ Manufacturer: _______________   Model _____________

Serial#  ___________ DEP registration # ____________	 Room _____________

| Date | Item | Initials |
| --- | --- | --- |
|  | “X-Ray On” warning light functional? |  |
|  | Sample chamber door locks when machine on? |  |
|  | All users possess dosimetry? |  |

| Date | Item | Initials |
| --- | --- | --- |
|  | “X-Ray On” warning light functional? |  |
|  | Sample chamber door locks when machine on? |  |
|  | All users possess dosimetry? |  |

| Date | Item | Initials |
| --- | --- | --- |
|  | “X-Ray On” warning light functional? |  |
|  | Sample chamber door locks when machine on? |  |
|  | All users possess dosimetry? |  |

| Date | Item | Initials |
| --- | --- | --- |
|  | “X-Ray On” warning light functional? |  |
|  | Sample chamber door locks when machine on? |  |
|  | All users possess dosimetry? |  |

| Date | Item | Initials |
| --- | --- | --- |
|  | “X-Ray On” warning light functional? |  |
|  | Sample chamber door locks when machine on? |  |
|  | All users possess dosimetry? |  |

| Date | Item | Initials |
| --- | --- | --- |
|  | “X-Ray On” warning light functional? |  |
|  | Sample chamber door locks when machine on? |  |
|  | All users possess dosimetry? |  |

Portable/Handheld X-Ray Device Log

Machine __________ Manufacturer: _______________   Model _____________

Serial#  ___________ DEP registration # __________ Storage Room _____________

| Date | User Initials | Purpose | Location (Room Number) | Problems or Issues |
| --- | --- | --- | --- | --- |

Example: Take a photo of machine to add to EHS files and post on machine.

Hewlett Packard Cabinet X-Ray

DEP Registration # 102651

Contact 	Irene Petrova